Zenatix_Observations:-

Original data observations:-

- Firstly alternate minute data analysis was done for 5 days, just to monitor at very fine level.

- Now the original data where the data for power consumption was there per minute was changed to per hour consumption (df_h in notebook), so that complete graph for 2 months (august and September, 2019) could be understood on broader levels. Here are the observations w.r.t each AC:-

AC 1:-

- There seems to be regular periodic intervals when the AC has not been used (13-16 aug, 25-27 aug, 3-5 sept, 9-10 sept)

- In general, the AC power consumption seems to be high at night (some exceptions like 6-8 sept)

- The maximum hourly power consumption happens to be 294.294 units

- The mean power value for hourly consumption is 71.036 units

- The standard deviation for hourly consumption is 62.222 units

- In general the standard deviation per mean is 87.592%

AC 2 :-

- There seems to one particular interval when AC has not been used (13-17 aug)

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 326.477 units

- The mean power value for hourly consumption is 115.514 units

- The standard deviation for hourly consumption is 69.713 units

- In general the standard deviation per mean is 60.350%

AC 3 :-

- In general, the AC power consumption seems to be high at night times but the exception cases are far more than that of AC1 and AC2.

- Also the difference between the average day and night temperature is less than that of AC1 and AC2.

- The maximum hourly power consumption happens to be 240.479 units

- The mean power value for hourly consumption is 76.692 units

- The standard deviation for hourly consumption is 36.942 units

- In general the standard deviation per mean is 48.172%

AC 4 :-

- There seems to one particular interval when AC has not been used (13-15 aug and mostly on 16th aug).

- In general, the AC power consumption seems to be high at night times.

- Also the difference between the average day and night temperature is less than that of AC1 and AC2.

- The maximum hourly power consumption happens to be 253.028 units

- The mean power value for hourly consumption is 71.501 units

- The standard deviation for hourly consumption is 46.763 units

- In general the standard deviation per mean is 65.401%

AC 5 :-

- The average temperature for a day is almost same during 12-16th aug.

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 115.607 units

- The mean power value for hourly consumption is 42.452 units

- The standard deviation for hourly consumption is 15.3 units

- In general the standard deviation per mean is 36.041%

AC 6:-

- The AC seems to not in use for decent part of the days during 14-19th aug

- In general, the AC power consumption seems to be high at night times.

- The peak temperatures appears to be around midnight except for few cases.

- The maximum hourly power consumption happens to be 190.278 units

- The mean power value for hourly consumption is 75.194 units

- The standard deviation for hourly consumption is 38.044 units

- In general the standard deviation per mean is 50.594%

AC 7 :-

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 227.694 units

- The mean power value for hourly consumption is 88.935 units

- The standard deviation for hourly consumption is 32.541 units

- In general the standard deviation per mean is 36.589%

AC 8:-

- In general, the AC power consumption seems to be high at night times.

- The peak temperatures appears to be around midnight except for very few cases (less than that in AC 6).

- The maximum hourly power consumption happens to be 215.165 units

- The mean power value for hourly consumption is 76.085 units

- The standard deviation for hourly consumption is 33.466 units

- In general the standard deviation per mean is 43.985%

AC 9:-

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 250.060 units

- The mean power value for hourly consumption is 94.952 units

- The standard deviation for hourly consumption is 33.965 units

- In general the standard deviation per mean is 35.97%

AC 10:-

- In general, the AC power consumption seems to be high at night times.

- The average temperature for a day is almost same during 2-7th aug and also during 9-11th aug.

- The maximum hourly power consumption happens to be 45.908 units

- The mean power value for hourly consumption is 102.637 units

- The standard deviation for hourly consumption is 14.466 units

- In general the standard deviation per mean is 31.511%

AC 11:-

- The average temperature daily temperature is almost same during 15-28th aug.

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 285.384 units

- The mean power value for hourly consumption is 71.773 units

- The standard deviation for hourly consumption is 37.049 units

- In general the standard deviation per mean is 51.619%

AC 12:-

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 241.821 units

- The mean power value for hourly consumption is 80.607 units

- The standard deviation for hourly consumption is 31.842 units

- In general the standard deviation per mean is 39.502%

AC 13:-

- Although the AC power consumption seems to be high at night in most of the cases, its not as generalizable as in the other cases.

- The maximum hourly power consumption happens to be 277.649 units

- The mean power value for hourly consumption is 127.809 units

- The standard deviation for hourly consumption is 44.399 units

- In general the standard deviation per mean is 34.739%

AC 14:-

- In general, the AC power consumption seems to be high at night times.

- The maximum hourly power consumption happens to be 253.988 units

- The mean power value for hourly consumption is 87.067 units

- The standard deviation for hourly consumption is 37.232 units

- In general the standard deviation per mean is 42.762%

AC 15:-

- The AC seems to not in use for decent part of the days during 3-6th sept, 7th sept and 22nd sept.

- The average daily temperature for 3-7th sept seems almost the same.

- The AC power consumption seems to be high at night in most of the cases

- The maximum hourly power consumption happens to be 288.449 units

- The mean power value for hourly consumption is 120.821units

- The standard deviation for hourly consumption is 51.766 units

- In general the standard deviation per mean is 42.845 %

AC 16:-

- The average daily temperature for 1-9th sept seems to be continuously quite low.

- In general, the AC power consumption seems to be high at night times (particularly if we leave that 1-9th sept part where day and night temperatures seem to converge quite a lot).

- The peak temperatures appears to be around midnight except in general except for the 1-9 sept duration.

- The maximum hourly power consumption happens to be 288.407 units

- The mean power value for hourly consumption is 83.599units

- The standard deviation for hourly consumption is 38.293 units

- In general the standard deviation per mean is 45.805 %

AC 17:-

- In general, the AC power consumption seems to be low at night times as compared to daytime.

- In general the minimum daily temperature appears to be around midnight.

- The AC power consumption seems to be mostly high at major times of a day.

- The maximum hourly power consumption happens to be 168.391 units

- The mean power value for hourly consumption is 125.975units

- The standard deviation for hourly consumption is 28.889 units

- In general the standard deviation per mean is 22.932 %

AC 18:-

- In general, the AC power consumption seems to be low at night times as compared to daytime.

- In general, the AC seems to be running at its topmost capacity for many discrete days that appear continuously throught the 2 months.

- The average day and night temperature difference is higher in this case as compared to case of AC 17.

- The maximum hourly power consumption happens to be 297.038 units

- The mean power value for hourly consumption is 193.010units

- The standard deviation for hourly consumption is 62.417 units

- In general the standard deviation per mean is 32.338 %

- Maximum and minimum power consumption ACs:-

Looking at the above observations (mean power), its quite evident that AC 5 has the minimum usage and AC 18 has the maximum usage.

Temperature addition to saved hour based power consumption dataframe(df_h) and further analysis:-

- Although its a general notion that the power consumption tends to increase with as the outside temperture increases (given that AC is in operation for same durations at varying outside temperature), just because the compressor has to work more with increaseing temperature differnece between source and sink, our conclusions don't suggest the same.But we need to analyze the peculiarities of this particular case.

- After saving the above file, an additional column for temperature of Gurgaon was added from site:- https://www.timeanddate.com/.

- We had the minimum and maximum temperature of Gurgaon for each 6 hour span for a day given, fro which we extracted the mean of each of those spans. So effectively we had 4 set of mean temperatures for 6 different timespans of the day (0-6 hrs, 6-12 hrs, 12-18 hrs, 18-24 hrs).

- And so the above extracted temperature was appened to earlier saved df_h dataframe and the resultant sheet was uploaded back to drive, where the colab notebook is present.

- The above sheet with hourly data was opened in pandas as df_new, and a new dataframe df_day was constructed generating mean values of hourly power consumption data along with mean temperature over a day.

- The temperature and ACs in df_day power consumptions were scaled to 0-1 and combined plot (all ACs power consumption and temperature together) and separate plot (each of 18 ACs vs date-time and temp vs date-time) was done to get qualitative insight of correlation between ACs power and temperature. The line subplots qualitatively show that outside average daily temperture is not positively correlated to the average daily power consumption of each AC.

- Also a correlation matrix of 18 ACs and temperature data among themselves was observed over a heatmap. The heatmap further confirms that temperature is no positively correlated with ACs power consumption quantitatively by the correlation scores.

- Although many of the AC/temperature correlation are positive with quite a lot having a score near 0.50 (AC5, AC6, AC7, AC8, AC11, AC 12. AC 14, AC17); none have significant high score (> 0.50, maybe atleast 0.7) to ascertain that there is high positive correlation between AC power consumption and outside temperature. Infact there are cases like of AC 18 where the correlation score is infact negative (-0.24). These evidence suggests that in relation with the varying usage of different ACs, it all boils to residents of rooms corresponding to AC using the ACs in varying capacities according to their personal comfort, habits and adaptiblity that may not significantly change with change in weather. For instance, the residents of room 18 (AC 18) have used that AC at maximum load at most times whereas residents of room 5 (AC 5) have used that AC at lower loads at most times.

Power forecast (model development):-

- The earlier saved df_new hourly data of ACs power consumption and temperature was considered. Initially preprocessing steps generate cos and sine cyclic curves from date_cum_time_duration column.

- The day_cos column has been generated to inculcate the cyclic nature of days (each day has 24 hours and starts with 00 hrs). Since there may be two points in day having same day_cos value, just to maintain to maintain uniqueness of those two timestamps, additional day_sine column has been generated. Also since similar times at adjacent days (lets say 1PM on 1st sept and 1PM on 2nd sept)and similar days at adjacent months (lets say 1st aug and 1st sept) might have same value of day_cos and day_sine, additional month_cos and month_sine columns have been generated to preserve uniqueness of such timeframes. The day_cos and day_sine curves have been generated considering 24 hr cycle in a day and month_cos and month_sine have been generated considering 365.25 days cycle in a year. The final dataframe made has been named df_preprocess.

- For prediction, LSTM based sequential artitechure has been used with 2 LSTM layers both having dropout of 0.2 and a final dense layer for output. A total of 300 epoch steps have been used with early stopping based on performance of validation loss. Also ‘mean absolute error’ has been considered as validation error while ‘mean squared error’ has been used as loss. In total there are 18 models of this type, each learning the corresponding AC power sequence. Here are the list of the hyperparameters that have been used:-

- Lag and n_ahead:- Lag here means number of timesteps in prior that should be used to predict of output n_ahead units. For example lag=3 and n_ahead =1 in our case means, the prediction of next hour power consumption based on previous 3 hours. Depending on the complexity of sequences different combinations of lag and n_ahead has been used while tuning those models.

- ac_name:- The name of the AC whose sequence is to be learnt.

- min_delta:- This is one of the early stopping parameters. It specifies a minimum value of decrement (in our case of minimization of validation loss), that can be considered as improvement.

- Patience:- This is 2nd of the early stopping parameters. Often, the first sign of no further improvement may not be the best time to stop training. This is because the model may coast into a plateau of no improvement or even get slightly worse before getting much better. We can account for this by adding a delay to the trigger in terms of the number of epochs on which we would like to see no improvement. This can be done by setting the “patience” argument.

- Epoch:- The total number of training steps. Its 300 for our case and fixed.

- Batch_size:- The total number of train examples to be batched at a time inside and epoch for training. This keeps changing over the course of learning those 18 models (roughly between 40 to 150).

- Train_days:- The number of days whose data is to be considered for training out of total data of 61 days (august + september). This has been kept fixed at 51 days for our case. So the test/ validation set naturally has 10 days in all the cases.

- lr:- It’s the learning rate for our optimizer (adam). This keeps changing over the course of learning those 18 models (roughly between 0.001 to 0.002).

- hidden_output_dim :- It’s the hidden_output_dimension of the intermediate states of LSTM that one gets while traversing along the timesteps during feed foraward step of LSTM. It keeps changing over the course of learning those 18 models (roughly between 10 to 40).

- Feature_column:- contains columns that need to be taken from main df_preprocess dataframe for making the training data for model of particular AC. In most of the cases the feature column had [‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’] list values except for AC 3 and AC 6  where we had [‘date-time’, ac_name] list values only as this was yielding better results.

- Decent level of optimization has been done on all the 18 models, and following are the hyperparameters and validation loss for each:-

- AC_1:- lag=3, n_ahead =1, ac_name =’AC 1’, min_delta =0.0001, patience =20, epoch =300, batch_size =80, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0575.

- AC_2:- lag=3, n_ahead =1, ac_name =’AC 2’, min_delta =0.0001, patience =20, epoch =300, batch_size =60, train_days =51, lr =0.002, hidden_output_dimension =10 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0521.

- AC_3:- lag=3, n_ahead =1, ac_name =’AC 3’, min_delta =0.0001, patience =20, epoch =300, batch_size =60, train_days =51, lr =0.002, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name], val_error = 0.0588.

- AC_4:- lag=3, n_ahead =1, ac_name =’AC 4’, min_delta =0.0001, patience =20, epoch =300, batch_size =60, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0657.

- AC_5:- lag=1, n_ahead =1, ac_name =’AC 5’, min_delta =0.0001, patience =20, epoch =300, batch_size =100, train_days =51, lr =0.002, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0623.

- AC_6:- lag=1, n_ahead =1, ac_name =’AC 6’, min_delta =0.0001, patience =20, epoch =300, batch_size =80, train_days =51, lr =0.002, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name], val_error = 0.0758.

- AC_7:- lag=1, n_ahead =1, ac_name =’AC 7’, min_delta =0.0001, patience =20, epoch =300, batch_size =100, train_days =51, lr =0.002, hidden_output_dimension =40 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0573.

- AC_8:- lag=2, n_ahead =1, ac_name =’AC 8’, min_delta =0.0001, patience =20, epoch =300, batch_size =150, train_days =51, lr =0.002, hidden_output_dimension =40 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0677.

- AC_9:- lag=2, n_ahead =1, ac_name =’AC 9’, min_delta =0.0001, patience =20, epoch =300, batch_size =100, train_days =51, lr =0.002, hidden_output_dimension =40 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0640.

- AC_10:- lag=1, n_ahead =1, ac_name =’AC 10’, min_delta =0.0001, patience =20, epoch =300, batch_size =40, train_days =51, lr =0.002, hidden_output_dimension =40 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0657.

- AC_11:- lag=1, n_ahead =1, ac_name =’AC 11’, min_delta =0.0001, patience =20, epoch =300, batch_size =100, train_days =51, lr =0.002, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0545.

- AC_12:- lag=1, n_ahead =1, ac_name =’AC 12’, min_delta =0.0001, patience =20, epoch =300, batch_size =120, train_days =51, lr =0.002, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0522.

- AC_13:- lag=1, n_ahead =1, ac_name =’AC 13’, min_delta =0.0001, patience =20, epoch =300, batch_size =150, train_days =51, lr =0.002, hidden_output_dimension =30 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0666.

- AC_14:- lag=2, n_ahead =1, ac_name =’AC 14’, min_delta =0.0001, patience =20, epoch =300, batch_size =100, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0574.

- AC_15:- lag=1, n_ahead =1, ac_name =’AC 15’, min_delta =0.0001, patience =20, epoch =300, batch_size =120, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0734.

- AC_16:- lag=3, n_ahead =1, ac_name =’AC 16’, min_delta =0.0001, patience =20, epoch =300, batch_size =60, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0496.

- AC_17:- lag=1, n_ahead =1, ac_name =’AC 17’, min_delta =0.0001, patience =20, epoch =300, batch_size =150, train_days =51, lr =0.001, hidden_output_dimension =20 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0721.

- AC_18:- lag=1, n_ahead =1, ac_name =’AC 18’, min_delta =0.0001, patience =20, epoch =300, batch_size =150, train_days =51, lr =0.001, hidden_output_dimension =40 , feature_column =[‘date-time’, ac_name, ‘day_cos’, ‘day_sin’, ‘month_cos’, ‘month_sin’], val_error = 0.0893.

- Also while training, the training vs validation loss profile has been generated along with actual vs predicted values comparison on tets/validation set of all 18 models. So, their graph profiles could be found in the notebook.